## Sheet1
PI-32
Location:
Manufacturer:
Serial #:
Operating Range: | 0-4 | bar
Tolerance:
Readability:
Calibration Test Results
|  |  | As Found |  |  | As Left
% Input | Calc. O/P |  | Input | Output | ± % Error | Input | Output | ± % Error
| bar |  | bar | bar |  | bar | bar |  | Gauge FS
25 | 1 |  | 1.003 | 1 | 0.075% | N/A | N/A | N/A | 4
50 | 2 |  | 2.009 | 2 | 0.225% | N/A | N/A | N/A
75 | 3 |  | 3.004 | 3 | 0.1% | N/A | N/A | N/A